NESTOR D3.3 — Validation checklist

Source: NESTOR D3.3, Annex A

Study / site: ____________________  Protocol / model version: ____________________

Completed by / date: ____________________  Review record: ____________________

Record reasons for non-applicability and deviations in the study record. Completion does not establish clinical readiness.

This checklist can be used as a working SOP when planning and reporting a validation study. Items marked (M) apply to multi-site studies, and items marked (C) apply when a method moves towards clinical use.

| Item | Done |
| --- | --- |
| 1. Task definition |  |
| Research question and expected outputs stated. | ☐ |
| Intended purpose, intended user and target population written down. | ☐ |
| Acceptable and unacceptable errors defined with clinical input. | ☐ |
| Responsibilities for review and the role of human judgement defined. | ☐ |
| Regulatory qualification assessed (medical device / IVD / research only). (C) | ☐ |
| Ethics review requirement and DPIA screening completed. | ☐ |
| Task definition and acceptance criteria agreed by all sites. (M) | ☐ |
| 2. Data description |  |
| Data sources, collection and preparation described. | ☐ |
| Lawful basis, consent or opt-out status and ethics approval recorded for each site. | ☐ |
| Data processing or joint-controllership agreements in place. (M) | ☐ |
| Processing location recorded; model-to-data approach used where transfer is restricted. | ☐ |
| Harmonised acquisition metadata and data dictionary applied. (M) | ☐ |
| Reference standard and annotation protocol documented; inter-observer agreement measured. | ☐ |
| Training and evaluation data split at patient or cycle level; external site held out. (M) | ☐ |
| Inclusion and exclusion criteria documented; representativeness and gaps described. | ☐ |
| 3. Model identification |  |
| Model version, weights checksum, configuration and input preparation recorded. | ☐ |
| Meaning of output labels, values and units described. | ☐ |
| Same model version verified at every site. (M) | ☐ |
| Ownership and licensing of model and data recorded. | ☐ |
| Version control and change records maintained. (C) | ☐ |
| 4. Evaluation and visual review |  |
| Performance measures and unit of analysis pre-specified. | ☐ |
| Quality-review criteria pre-specified at frame and sequence or participant level. | ☐ |
| Exclusions recorded with coded reasons; exclusion rates reported. | ☐ |
| Results reported per site and overall, with confidence intervals. (M) | ☐ |
| Human oversight arrangements and identified failure modes documented. (C) | ☐ |
| 5. Documentation and interpretation |  |
| Findings traceable to data, model version and review decisions. | ☐ |
| Output quality and derived measurements reported separately. | ☐ |
| Reporting guideline followed (TRIPOD+AI, CLAIM or DECIDE-AI). | ☐ |
| Stage of evidence stated; no unsupported claims of clinical benefit. | ☐ |
| Records archived according to the data management plan. | ☐ |

Deviations and follow-up (item, reason, responsible person, due date):

________________________________________________________________________